## IR Form
Interconnection Request Form
Please provide information in all blue shaded fields in each section, if applicable. Do not leave any blue shaded field blank. If any particular blue shaded field is not applicable to your project please write N/A (not applicable).
Interconnection Customer Information
Project Name: |  |  |  | Street Address:
Company Name: |  |  |  | Unit/Suite:
Contact Name: |  |  |  | Town/City:
Phone: |  |  |  | Province/State:
Fax: |  |  |  | Country:
E-Mail: |  |  |  | Postal Code/ZIP:
Interconnection Service Information
| The Interconnection Request is for (check one): |  |  |  | The Interconnection Request type is (check all that apply):
|  | A proposed new Facility. |  |  |  | Generation
|  | An increase in capacity of an existing Facility. |  |  |  | Transmission
|  | A material modification to an existing Facility. |  |  |  | End-User (Load)
General Facility Information
Address or location or the proposed new Facility site or, the name and specific location of the existing Facility.
Maximum rating of the proposed new Facility or, amount of capacity increase of an existing Facility in MVA.
Winter (Oct-Apr):
Summer (Jul-Sep):
Spring (May-Jun):
General description of the equipment configuration for the Facility.
Proposed In-Service Date:
(DD-MMM-YYYY):
Approximate location of the proposed Point of Interconnection.
Additional Submission Information
The Interconnection Customer shall submit the following along with this Interconnection Request.
Confirm the following data forms have been provided (check all that apply):
Generation
Transmission
End-User (Load)
This Interconnection Request shall be submitted via e-mail, fax, or mail as follows: E-mail: electricity.customerservice@fortisbc.com Fax: 1-866-540-6732 Mail: FortisBC - Electricity Suite 100, 1975 Springfield Road Kelowna, BC, V1Y 7V7 Attention: Regional Engineer, Kootenay or Okanagan
The undersigned Interconnection Customer submits this request to interconnect its Facility with the FortisBC Electrical System pursuant to the FortisBC Electrical Tariff and FortisBC Facility Connection Requirements.
This Interconnection Request is submitted by: _______________________________________________ Print Name _______________________________________________ ________________________________________ Signature Date
FortisBC Use Only _______________________________________________ ________________________________________ Received By Date and Time Received _______________________________________________ Signature

## Transmission
Transmission Facility Technical Data Form
Please provide information in all blue shaded fields in each section, if applicable. Do not leave any blue shaded field blank. If any particular blue shaded field is not applicable to your project please write N/A (not applicable). Use additional forms if addition facility information is required to be submitted.
Overhead Line or Underground Cable Information
Nominal Voltage (kV): |  |  |  | Pos-Seq Resistance R1 (Ohms/km):
Length (km): |  |  |  | Pos-Seq Reactance X1 (Ohms/km):
Conductor Type: |  |  |  | Zero-Seq Resistance R0 (Ohms/km):
Conductor Size: |  |  |  | Zero-Seq Reactance X0 (Ohms/km):
Conductor Code Name: |  |  |  | Summer Continuous Rating (MVA):
Overhead Ground Wire Type: |  |  |  | Summer Emergency Rating (MVA):
Overhead Ground Wire Size: |  |  |  | Winter Continuous Rating (MVA):
Overhead Ground Wire Code Name: |  |  |  | Winter Emergency Rating (MVA):
Provide a description of the protection systems.
Provide a description of the communication systems.
The following shall be submitted the along with this Transmission Facility Technical Data Form.
Confirm the following has been provided (check each):
Route Map.
Single line diagram including all electrical and all protection equipment.
Reactive Compensation Device Information (If Applicable)
Connection Location: |  |  |  | Rated Voltage (kV):
Type: |  |  |  | Rating (MVAR):
Configuration: |  |  |  | Switching Device Type:
Provide a description of the protection systems.
Provide a description of the criteria for automatic switching.
Transformer Information (If Applicable)
Primary Voltage Rating (kV): |  |  |  | Summer Continuous Rating (MVA):
Secondary Voltage Rating (kV): |  |  |  | Summer Emergency Rating (MVA):
Tertiary Voltage Rating (kV): |  |  |  | Winter Continuous Rating (MVA):
Primary Connection Configuration: |  |  |  | Winter Emergency Rating (MVA):
Secondary Connection Configuration: |  |  |  | Tap Changer Location (HV or LV):
Tertiary Connection Configuration: |  |  |  | Tap Changer Type:
Positive Sequence Impedance (%): |  |  |  | Number of Taps:
Zero Sequence Impedance (%): |  |  |  | Tap Step Voltage (%):
Provide a description of the protection systems.
Additional Information
Provide a description of any additional applicable information, if required.

## Generation
Generation Facility Technical Data Form
Please provide information in all blue shaded fields in each section, if applicable. Do not leave any blue shaded field blank. If any particular blue shaded field is not applicable to your project please write N/A (not applicable). Use additional forms if addition facility information is required to be submitted.
Generator Information
Maximum Generator Rating (MVA): |  |  |  | Type of Generator (Synchronous, Induction, etc.):
Maximum Turbine Rating (MW): |  |  |  | Amortisseur Windings Connected:
Rated Voltage (kV): |  |  |  | Synchronous Condenser (yes/no):
Rated Power Factor (PU): |  |  |  | Connection (delta/wye):
Rated Amperes (A): |  |  |  | Type of Grounding:
Rated Speed (RPM): |  |  |  | Grounding Resistance:
Rated Frequency (Hz): |  |  |  | Turbine+Generator Inertia Constant (H):
Number of Phases: |  |  |  | Turbine+Generator Moment of Inertia (WR2):
Short Circuit Ratio: |  |  |  | Energy Source (Water, Steam, Wind, etc.):
Provide a description of the protection systems.
Provide a description of the communication systems.
The following shall be submitted the along with this Generation Facility Technical Data Form.
Confirm the following has been provided (check each):
Site Plan(s) showing the location of the customer's Facility and the proposed Point-of-Interconnection.
Single line diagram(s) which include all electrical and protection equipment.
Governor and exciter (including power system stabilizer, if applicable) model block diagrams and data sheets provided in IEEE or PSSE format.
Impedance Information (Per-Unit Values on Machine Base kV and Base MVA)
Base MVA: |  |  |  | Base kV:
Unsaturated Values |  |  |  | Saturated Values
D-Axis Synchronous Reactance (Xdi): |  |  |  | D-Axis Synchronous Reactance (Xdv):
D-Axis Transient Reactance (X'di): |  |  |  | D-Axis Transient Reactance (X'dv):
D-Axis Sub-Transient Reactance (X"di): |  |  |  | D-Axis Sub-Transient Reactance (X"dv):
Q-Axis Synchronous Reactance (Xqi): |  |  |  | Q-Axis Synchronous Reactance (Xqv):
Q-Axis Transient Reactance (X'qi): |  |  |  | Q-Axis Transient Reactance (X'qv):
Q-Axis Sub-Transient Reactance (X"qi): |  |  |  | Q-Axis Sub-Transient Reactance (X"qv):
Negative Sequence Reactance (X2i): |  |  |  | Negative Sequence Resistance (R2):
Zero Sequence Reactance (X0i): |  |  |  | Zero Sequence Resistance (R0):
Leakage Reactance (Xlm): |  |  |  | Armature Resistance Per Phase (Ra):
Field Winding Resistance (Rf):
Time Constant Information (Seconds)
D-Axis Values |  |  |  | Q-Axis Values
Open Circuit Transient (T'do): |  |  |  | Open Circuit Transient (T'qo):
Open Circuit Sub-Transient (T"do): |  |  |  | Open Circuit Sub-Transient (T"qo):
Short Circuit Transient (T'd): |  |  |  | Short Circuit Transient (T'q):
Short Circuit Sub-Transient (T"d): |  |  |  | Short Circuit Sub-Transient (T"q):
Transformer Information (If Applicable)
Primary Voltage Rating (kV): |  |  |  | Maximum Continuous Rating (MVA):
Secondary Voltage Rating (kV): |  |  |  | Maximum Emergency Rating (MVA):
Tertiary Voltage Rating (kV): |  |  |  | Tap Changer Location (HV or LV):
Primary Connection Configuration: |  |  |  | Tap Changer Type:
Secondary Connection Configuration: |  |  |  | Number of Taps:
Tertiary Connection Configuration: |  |  |  | Tap Step Voltage (%):
Positive Sequence Impedance (%): |  |  |  | Current Tap Setting:
Zero Sequence Impedance (%):
Provide a description of the protection systems.
Additional Information
Provide a description of any additional applicable information, if required.

## End-User (Load)
End-User (Load) Facility Technical Data Form
Please provide information in all blue shaded fields in each section, if applicable. Do not leave any blue shaded field blank. If any particular blue shaded field is not applicable to your project please write N/A (not applicable). Use additional forms if addition facility information is required to be submitted.
Load Information
Interconnection Voltage (kV): | [5 empty] | Electric Heating Load (kW):
Total Connected Load (kVA): | [5 empty] | Lighting Load (kW):
Proposed Future Connected Load (kVA): | [5 empty] | Motor Load (kW):
Existing Peak Demand (kW): | [5 empty] | Other Load (kW):
Additional Expected Peak Demand (kW): | [5 empty] | Hours of Operation Per Day:
Load Factor (%): | [5 empty] | Days of Operation Per Week:
Expected Power Factor (%)
Provide a description of the loads that are included in the 'Other Load' total above.
Provide a description of the type of business or operation.
The following shall be submitted the along with this End-User (Load) Facility Technical Data Form.
Confirm the following has been provided (check each):
Site Plan(s) showing the location of the customer's Facility and the proposed Point-of-Interconnection.
Single line diagram(s) which clearly summarize the connection of all major electrical equipment.
Motor Information (If Applicable)
Provide the following information for all motors 50Hp and larger (attach a list if required).
Type (Induction, Synchronous) |  |  | Nameplate Size (Hp) |  | Nameplate Voltage (kV) | Starting (VFD, Soft, Direct) | Running (VFD, Direct, etc.) |  | Comments
Generation Information (If Applicable)
| The customer Facility has onsite generation for the following purposes (check all that apply): | [6 empty] | Generator Size (MW)
Emergency generation only, not to be paralleled with the FortisBC system.
Onsite generation paralleled with the FortisBC system, with no intent to export.
Onsite generation paralleled with the FortisBC system, with an intent to export.
Reactive Compensation Device Information (If Applicable)
Connection Location: | [5 empty] | Rated Voltage (kV):
Type: | [5 empty] | Rating (MVAR):
Configuration: | [5 empty] | Switching Device Type:
Provide a description of the protection systems.
Provide a description of the criteria for automatic switching.
Transformer Information (If Applicable)
Primary Voltage Rating (kV): | [5 empty] | Summer Continuous Rating (MVA):
Secondary Voltage Rating (kV): | [5 empty] | Summer Emergency Rating (MVA):
Tertiary Voltage Rating (kV): | [5 empty] | Winter Continuous Rating (MVA):
Primary Connection Configuration: | [5 empty] | Winter Emergency Rating (MVA):
Secondary Connection Configuration: | [5 empty] | Tap Changer Location (HV or LV):
Tertiary Connection Configuration: | [5 empty] | Tap Changer Type:
Positive Sequence Impedance (%): | [5 empty] | Number of Taps:
Zero Sequence Impedance (%): | [5 empty] | Tap Step Voltage (%):
Provide a description of the protection systems.
Additional Information
Provide a description of any additional applicable information, if required.